| Test | Specification | Results |
| --- | --- | --- |
| Appearance | Colorless particulate free liquid. | Colorless particulate free liquid. |
| Identification by GC | To match with standard | Matches with standard |
| Non-Volatile Matter | Maximum 0.01% | 0.0004% |
| Purity | Minimum 99.5% by area normalization | 100.0% |
| Benzene | Maximum 2ppm | Not Detected |