| Test | Specification | Results |
| --- | --- | --- |
| Meets EP/BP Chemical Specifications |  |  |
| Appearance | Clear colorless volatile, hygroscopic liquid. | Complies |
| Solubility | Miscible with water and with methylene chloride. | Complies |
| Identification A (By Refractive Index) | 1.328 to 1.330 | 1.329 |
| Identification B (By IR) | The sample spectrum matches that of the reference standard. | Complies |
| Acidity or Alkalinity | Not more than 0.9 mL of 0.01 M sodium hydroxide is required to change the colour of the indicator to Pink. | 0.5mL |
| Relative Density | 0.791 – 0.793 | 0.793 |
| Absorbance |  |  |
| Absorbance at 230 nm (au) | Max. 0.15 | 0.1381 |
| Absorbance at 250 nm (au) | Max 0.05 | 0.0568 |
| Absorbance at 270 nm (au) | Max 0.02 | 0.0124 |
| Absorbance at 290 nm (au) | Max 0.01 | 0.0073 |
| Scan from 230 nm to 290 nm | The absorption curve is smooth | Complies |
| Impurity A (Benzene) | Not more than 2 ppm | Not Detected |
| Related Substances |  |  |
| Any Impurity | Not more than 0.1 % | Not Detected |
| Total Impurity | Not more than 0.3 % | Not Detected |
| Reducing Substances | The pink color is not completely discharge within 5mins | Complies |
| Residue on Evaporation | Maximum 10 ppm | 2 ppm |
| Water | Maximum 0.10 % | 0.03% |

Remark: The Product is complies /does not comply with the above specifications and the above batch is suitable for NF Grade.